## Ark1
DUT | Instruments | Purpose | Note:
NTC: Philips 634-21224 220k nominel | Rando Sous Vide cooker | Maintain water temp | DMM Lead resistance: 0.0003782 at Ta = 24,0
| Fluke 87v | Meas Ta, Tn | All instruments warmed up for 30 minutes prior to testing
| Agilent 34401A (4-Wire mode) | Meas Rn | 2 minute settling time from "stable" sous vide temperature before measurement is taken. Stable temperature is when water temperature has remained unchanged for 2 minutes as read by the DMM. Water is always circulating because of the sous vide cooker.
Water Temperature will be increased in 2 degC increments
Sequence | Time stamp | Ambient Temp. (Ta) (degC) | Sous Vide SetPoint (Ts) (degC) | Water Temp. (Tn) (degC) | NTC Res. (Rn) (Ohm)
1 | 14:30 | 24 | 12 | 12.1 | 464311
2 | 14:37 | 24.3 | 14 | 14.1 | 427564
3 | 14:40 | 24.4 | 16 | 16.6 | 373724
4 | 14:44 | 25.1 | 18 | 18.1 | 347115
5 | 14:51 | 23.6 | 20 | 20.9 | 306053
6 | 14:55 | 23.9 | 22 | 22.1 | 288305
7 | 14:58 | 23.7 | 24 | 24.1 | 260672
8 | 15:02 | 23.8 | 26 | 26.1 | 235916
9 | 15:08 | 24.1 | 28 | 27.3 | 223660
10 | 15:12 | 24 | 30 | 29.2 | 205035
11 | 15:17 | 24.2 | 32 | 32.1 | 180728
12 | 15:24 | 24.5 | 34 | 33.7 | 168064
13 | 15:31 | 24.3 | 36 | 35.4 | 156378
14 | 15:38 | 24.7 | 38 | 37.7 | 141013
15 | 15:46 | 25.1 | 40 | 39.3 | 132035
16 | 15:54 | 25.3 | 42 | 41.4 | 120048
17 | 16:01 | 25.1 | 44 | 43.4 | 110258
18 | 16:07 | 24.9 | 46 | 45.6 | 100673
19 | 16:18 | 24.5 | 48 | 47.9 | 92623.6
20 | 16:24 | 24.5 | 50 | 50.2 | 83108.3
21 | 16:34 | 24.1 | 52 | 51.9 | 77405
22 | 16:41 | 24.8 | 54 | 53.6 | 72280.8
23 | 16:48 | 24.9 | 56 | 55.7 | 66260.6
24 | 16:59 | 25.4 | 58 | 57.9 | 60828.5
25 | 17:08 | 25.4 | 60 | 59.4 | 57307.7
26 | 17:21 | 24.6 | 62 | 61.4 | 52925.7
27 | 17:28 | 24.5 | 64 | 63.4 | 49435.1
28 | 17:36 | 24.4 | 66 | 65.4 | 46466.5
29 | 17:43 | 24.6 | 68 | 67.1 | 42633.1
30 | 17:47 | 24.4 | 70 | 69.1 | 39768.3
31 | 17:55 | 25 | 72 | 70.6 | 37704.5
32 | 18:01 | 25 | 74 | 72.8 | 34736
33 | 18:08 | 24.5 | 76 | 74.6 | 32670.9
34 | 18:15 | 24.8 | 78 | 76.6 | 30565.2
35 | 18:21 | 25.5 | 80 | 78.9 | 28280.2
36 | 18:27 | 25.4 | 82 | 80.5 | 26971.1